|  | OFFICE OF THE TREASURER Procurement Wing – Accounts Department 2nd Floor, Admin Block, Quaid-e-Azam Campus, Lahore. Tel: 042-99233105, Fax: 042-35863230 Email: pu.pw@pu.edu.pk Free of Cost No. /PW/Bid Date /2021 |  |  |
| --- | --- | --- | --- |

BID DOCUMENTS

Selected bids are invited on Single Stage Two Envelopes (Technical & Financial) basis by University of the Punjab from manufacturers, authorized distributors, dealers, firms, registered with GST & NTN and PRA (if applicable), for the procurement of below mentioned “Laboratory Equipment for Institute of Energy & Environmental Engineering / Centre for Coal Technology”. Single Envelope Containing Two Separate Envelopes must be marked as “Financial Proposal” & “Technical Proposal”. {C&F and FOR Basis (In Pak Rupees Only)}

| Sr. No. | ITEMS DESCRIPTIONS | Qty. | Brand, Make & Model | Unit Price (C&F/ FOR Basis) | Total Price (C&F/FOR Basis) | PC-I Estimation Cost (Millions PKR) |
| --- | --- | --- | --- | --- | --- | --- |
|  | Minimum Required Specifications or equivalent |  |  |  |  |  |
| A | Liquid Fuel Research Laboratories I & II (Item No. 1 to 24) |  |  |  |  |  |
| Lot 1 | Vapour Pressure Analyzer | 01 No. |  |  |  | 2.56 |
|  | Specifications (or equivalent) - Automatic vapour pressure tester for vapor pressure analysis (under vacuum) of gasoline, solvents, light crude oils, and other similar products - Method(s): ASTM D5191 - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 2 | Low Temperature Viscosity Bath | 01 No. |  |  |  | 3.75 |
|  | Specifications (or equivalent) - Method(s): ASTM D445 - Low Temperature Viscosity Bath (Bench Top) with integral refrigeration - Temperature range: -70°C to ambient temperature, ±0.01°C - Cooling rate: 20°C per hour (on average basis) - Minimum 10L bath suitable for methanol or ethanol - Accommodates up to minimum 4 standard viscometer tubes - High pressure and temperature cut out - Alarms: Low level warning and low level shut down - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 3 | Tri-Gauge Viscosity Comparator | 01 No. |  |  |  | 0.05 |
|  | Specifications (or equivalent) - Tube and ball tester for simple comparison of a sample to reference oils of higher and lower viscosity Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 4 | Multi Filtration Tester | 01 No. |  |  |  | 2.7 |
|  | Specifications (or equivalent) - The tester should conform to the ‘cold soak’ filterability test requirements for fatty acid methyl esters (FAME) and biodiesel. - The instrument should be designed to test the Filter Blocking Tendency (FBT) of diesel, biodiesel (B100 & B5/7/20/30), gas oil, gas turbine fuel and kerosene. - Method(s): ASTM D2068 - Filter blocking tendency (FBT) range: 1.0 to 30.0 - Maximum pressure: 200kPa - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 5 | Micro Carbon Residue Tester | 01 No. |  |  |  | 1.72 |
|  | Specifications (or equivalent) - Method(s): ASTM D189, ASTM D4530 - Temperature range: Ambient to 500°C - Temperature measurement resolution: Maximum ±3°C - Carbon residue range: 0.1% to 30.0% (m/m) - Automatically regulated flow control - Load of samples: Minimum 10 small vials - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 6 | Existent Gum Solid Block Bath | 01 No. |  |  |  | 4.9 |
|  | Specifications (or equivalent) - A Solid Block Bath for determining existent gum content in fuels by the Jet Evaporation method - Method(s): ASTM D381, ISO 6246 - Designed to carry out at least 3 simultaneous tests - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/ unit. |  |  |  |  |  |
| Lot 7 | Thin Film Apparatus | 01 No. |  |  |  | 1.27 |
|  | Specifications (or equivalent) - The Thin Film Apparatus for determination of the Aniline Point in samples (that are too dark to be determined using ASTM D611 Method A or IP2 Method A) - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 8 | Sulphur Lamp Method Unit | 01 No. |  |  |  | 5.88 |
|  | Specifications (or equivalent) - The sulfur lamp method unit for determination of the total sulfur in liquid petroleum products in concentrations greater than 0.02% (20ppm) by weight. - Method(s): ASTM D1266 - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 9 | Shell 4-Ball Tester | 01 No. |  |  |  | 11.71 |
|  | Specifications (or equivalent) - The tester must be able to determine the friction properties of extreme pressure oils and greases. - Method(s): ASTM D2266, ASTM D2596, IP 239, - Speed range: Minimum 1000 rpm (on lower side) and more than 1500 rpm (on higher side) - Load range: 0 to 700 kgF - Digital speed and time controller - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 10 | Pressure Hydrometer Apparatus | 01 No. |  |  |  | 1.28 |
|  | Specifications (or equivalent) - Method(s): ASTM D1657 - For determining the density or specific gravity of light hydrocarbons and liquefied petroleum gas - Pressure cylinder - Max working pressure of 1000kPa - Temperature range: -15 to 50°C - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 11 | Schilling Effusiometer | 01 No. |  |  |  | 0.6 |
|  | Specifications (or equivalent) - Method(s): IP 59 Method C (obs) - For determining the density of a gas relative to air - Glass cylinder - Cylinder cover fitted with multiple sphere valves for sample charging - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 12 | Stainless Steel Sampling Can | 01 No. |  |  |  | 0.07 |
|  | Specifications (or equivalent) - Sampler (with lid) for sampling of petroleum products, chemicals, oils etc. - Single walled - Capacity: 500ml to 1000ml Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 13 | Thermohydrometers | 01 No. |  |  |  | 0.12 |
|  | Specifications (or equivalent) - ASTM E100 Series Thermo-Hydrometer API Gravity: 60° to 220°F - ASTM E100 Series Thermo-Hydrometer API Gravity: 0° to 150°F - ASTM E100 Series Thermo-Hydrometer API Gravity: 30° to 180°F Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 14 | Digital Vacuum Gauge | 01 No. |  |  |  | 0.26 |
|  | Specifications (or equivalent) - For in-line vacuum/pressure measurement - Range: Nearly 0 to 14.7 psia - digital display Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 15 | Pressure Calibrator | 01 No. |  |  |  | 1.7 |
|  | Specifications (or equivalent) - Hydraulic deadweight tester with integral hand pump and pressure gauge - 0.2 to 20 bar - Set of weights Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 16 | Handheld Digital Manometer | 01 No. |  |  |  | 0.13 |
|  | Specifications (or equivalent) - 0.1% Full Scale Accuracy - 0 to 1500 mmHg - Multiple User Selectable Engineering Units Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 17 | Dry Well Calibrator | 01 No. |  |  |  | 0.5 |
|  | Specifications (or equivalent) - Portable instrument for quick and accurate calibration of thermocouple and RTD temperature probes. - Operating range 400 to 1500°C - Multiple diameter probe wells Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 18 | Refrigerator for Samples | 01 No. |  |  |  | 0.1 |
|  | Specifications (or equivalent) - Temperature range 0 to 10°C - Capacity: 100 liters - Cold storage of volatile materials - CFC free - Spark free - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 19 | Vacuum/Pressure Air Pump | 01 No. |  |  |  | 0.11 |
|  | Specifications (or equivalent) - Pressure or vacuum delivery - For air and non-corrosive gases - Oil free - Maximum flow: 20l/min - Maximum vacuum: 0.5 to 1.0kPa - Maximum pressure: 70 to 100kPa - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 20 | ASTM Hydrometers and Thermohydrometers | 01 No. |  |  |  | 0.29 |
|  | Specifications (or equivalent) - 1H-1 to 11 Long @60°F API Gravity - 2H9 to 21 Long @60°F API Gravity - 3H19 to 31 Long @60°F API Gravity - 4H29 to 41 Long @60°F API Gravity - 5H 39 to 51 Long @60°F API Gravity - 6H49 to 61 Long @60°F API Gravity - 7H 59 to 71 Long @60°F API Gravity - 8H69 to 81 Long @60°F API Gravity - 9H 79 to 91 Long @60°F API Gravity - 10H 89 to 101 Long @60°F API Gravity - 81H 0.600 to 0.650 Long @60°F Sp. Gravity - 82H 0.650 to 0.700 Long @60°F Sp. Gravity - 83H 0.700 to 0.750 Long @60°F Sp. Gravity - 84H 0.750 to 0.800 Long @60°F Sp. Gravity - 85H 0.800 to 0.850 Long @60°F Sp. Gravity - 86H 0.850 to 0.900 Long @60°F Sp. Gravity - 67H 0.900 to 0.950 Long @60°F Sp. Gravity - 88H 0.950 to 1.000 Long @60°F Sp. Gravity - 89H 1.000 to 1.050 Long @60°F Sp. Gravity - 90H 1.050 to 1.100 Long @60°F Sp. Gravity Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 21 | Thermometer (For Precise Verification of Viscometer Baths) | 01 No. |  |  |  | 0.32 |
|  | Specifications (or equivalent) - Range: -70 to 25°C - Resolution: 0.001°C switchable to 0.01°C - Accuracy: 0.01°C @ 40°C and 100°C Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 22 | ASTM/IP Tank Sampling Thermometer Case | 01 No. |  |  |  | 0.01 |
|  | Specifications (or equivalent) - 100ml sample cup - Non-sparking design Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 23 | Automatic Atmospheric Distillation Unit | 01 No. |  |  |  | 3.54 |
|  | Specifications (or equivalent) - Method(s): ASTM D86, ASTM D1078, ASTM D850, IP123, - Distillation range: Ambient to 400°C - Condenser temperature: 0 to 60°C - Built-in cooling system - Chamber temperature: 0 to 50°C - Condenser tank volume: Minimum 5L - Power requirement: 230VAC, 50/60Hz Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 24 | Octane / Cetane Analyzer | 01 No. |  |  |  | 1.2 |
|  | Specifications (or equivalent) - Method(s): ASTM D613, ASTM D 2699 and ASTM D2700 - Bench top operation - Fully automated measurement - Requirement of small sample volumes: Maximum 40-50ml of sample including flushing - Short analysis time of (Maximum 20-25 minutes per sample) - Calibration with industry approved PRFs - Advanced electronically controlled high-pressure fuel injection system Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| B | Advanced Research Laboratory (Item No. 25 to 30) |  |  |  |  |  |
| Lot 25 | Single Sample Dilatometer with Computer, Backup UPS, and UPS for Equipment | 01 No. |  |  |  | 3.90 |
|  | Specifications (or equivalent) - Horizontal, digital dilatometer for expansion or contraction of a single test specimen from room temperature to 1000°C. - Bench top instrument console - Furnace temperature: 1000°C - Temperature Range: Ambient to 1000°C - Furnace: 12-inch heated zone - Thermocouple - Sample Holder and Probe Rod - Temperature Control - User Programmable, PID Controller with Melting Point Protection - Heating Rate: 1 to 15°C/minute - Data Analysis Software - Factory Calibration platinum - Calibration Sample: 99.8 Alumina - Water Cooled Bulkhead - Measuring Head Cover - Controlled Atmosphere Mandatory Accessories - Consumables for routine operation (for at least 500 sample analysis) - Filled cylinders with regulators for all gases required for routine operation - All cables/fittings/filters etc., for necessary connections - Standard solution for calibration - Compatible computer system along with application software and required accessories such as LCD, mouse, keyboard, etc. - UPS for instrument as well as computer system Followings must be quoted as optional items: - Consumables/spares for 2 years - Alumina sample holder - Alumina probe rod - Fused quartz sample holder - Fused quartz probe rod - Spare thermocouples - Black &white laser jet printer Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot 26 | Pellet Tester | 01 No. |  |  |  | 1.30 |
|  | Specifications (or equivalent) - Pellet range Maximum: 12 mm diameter x 30 mm long Minimum: 3 mm diameter x 6 mm long Note: Bidders must quote all accessories, parts, required gases with cylinder, supplies and reasonable quantity of spares to ensure installation and smooth operation of the equipment/unit. |  |  |  |  |  |
| Lot Wise Bid Security @ 2% of the Estimated Price (mentioned against each lot) in the form of Demand Draft / Bankers Cheque / CDR Must be Attached. In Case, bid has been submitted against more than one lots, the value of bid security must be in accordance with the accumulative value of the estimated prices of the concerned lots. |  |  |  |  |  |  |
| Warranty: Supplier shall ensure 1-year comprehensive warranty including all parts against each lot. Note: - Installation will be the responsibility of the manufacturer or his representative free of cost. However, provision of electrical switches, gas and water supply will be the responsibility of the University. - Supplier will also provide training to the faculty members free of cost. |  |  |  |  |  |  |

Evaluation Criteria

| Sr. No. | Parameters | Detail | Total Marks | Remarks |
| --- | --- | --- | --- | --- |
| 1 | Past Performance (Within previous 3 years) | (a) Major Public / Government Institutions Served (Form A1): (15 marks) i; No. of institutions served; 0. ii; 1 to 3; 5. iii; 4 to 6; 10. iv; 7 & Above; 15. (b) Major Private Institutions Served: (Form A2) (05 marks) i; No. of institutions served; 0. ii; 1 to 3; 2. iii; 4 to 6; 3. iv; 7 & Above; 5. | 20 (15+5) | Public / Government Institutions mean government institutions / Public Sector organizations / Public Sector Universities / Government Agencies / Autonomous Bodies etc. Private Institutions referred to other than above. Copies of relevant purchase orders / delivery challans must be attached. |
| 2 | Market experience in quoted items | i; 1 year; 2. ii; 2 years; 4. iii; Above 2 years; 5. Copy of Delivery Challan duly signed by the concerned customer / bill of entry etc. must be provided | 5 | Experience will be confirmed from the date of supplies made / delivered against the purchase order. |
| 3 | Length of Dealership | i; Above 4 years; 5. ii; 3 – 4years; 4. iii; 2 – 3 years; 3. iv; 1 – 2 years; 2. v; Below 1 year; 0. | 5 | Length of dealership with the quoted principal will be considered. Documentary Evidence be attached. |
| 4 | Financial Status | i; Tax Returns (Last 3 years)(2 marks each year); 6. ii; Bank Certificate*; 4. iii; Bank Statement (Previous 12 months); 10. (a); Balance above 08 Million; 10. (b); Balance above 6M & upto 8 Million; 08. (c); Balance above 4M & upto 6 Million; 06. (d); Balance above 2M & upto 4 Million; 04. (e); Balance above 1M & upto 2 Million; 02. (f); Balance below 1 Million; 0. | 20 | All provided documents can be verified by the Department. The marks of audited balance sheet will be given in proportion to their net worth. * In case of Bank Certificate, the Bank will certify about the Bidder’s financial worth, liquidity status, reputation. |
| 5 | Technical Staff (Overall) (Form B1) | (Form-B) i; Less than 2 persons; 0. ii; 2 to 3 persons; 05. iii; 4 to 5 persons; 08. iv; More than 5 persons; 10. Qualification: Minimum Graduation Masters qualification (1 person = 2 marks / 2 person = 4 marks More than 2 persons – 5 marks ) Training: Foreign Training from principal relating to the product: 5 marks (1 person = 2 marks / 2 person = 4 marks More than 2 persons – 5 marks ) Experience: (1 person equal to or more than 2 years = 02 marks 2 persons equal to or more than 2 years = 04 marks More than 2 persons equal to or more than 2 years = 05 marks More than 2 persons – 5 marks ) | 25 | Qualification marks will be awarded on the final degree. Complete supporting documents be attached. |
| 6 | Good Reputation Certificate from any Govt. Institution / Private Sector in Connection with Services | (Form C1) i; No certificate provided; 0. ii; 1 to 2; 5. iii; 3 to 5; 10. iv; 6 to 7; 15. v; 8 to 9; 20. vi; 10 and above; 25. Appreciation Certificates / Satisfactory letters etc. must be attached. | 25 | Public / Government Institutions mean government institutions / Public Sector organizations / Public Sector Universities / Government Agencies / Autonomous Bodies etc. Private Institutions referred to other than above. |

Total Marks: 100

Qualifying Marks:  65%

Note:	Marks will be awarded only if the comprehensive and complete concerned supporting 	documents are enclosed.

The financial bids of technically accepted bidders will be opened publicly at a time to be announced by the Procuring Agency. The financial bids of the bidders found technically non-responsive shall be returned un-opened to the respective Bidders.

Form A1

Past Performance – Major Public / Government Institutions Served

| Sr. No. | Contract Name | Contract Value | Brief Description of the work performed | Name, Address & Contact No. of the Client |
| --- | --- | --- | --- | --- |
| 01 |  |  |  |  |
| 02 |  |  |  |  |
| 03 |  |  |  |  |
| 04 |  |  |  |  |
| 05 |  |  |  |  |
| 06 |  |  |  |  |
| 07 |  |  |  |  |

Copies of Contract awarded / Purchase Order must be attached otherwise no marks would be awarded.

Form A2

Past Performance – Major Private Institutions Served

| Sr. No. | Contract Name | Contract Value | Brief Description of the work performed | Name, Address & Contact No. of the Client |
| --- | --- | --- | --- | --- |
| 01 |  |  |  |  |
| 02 |  |  |  |  |
| 03 |  |  |  |  |
| 04 |  |  |  |  |
| 05 |  |  |  |  |
| 06 |  |  |  |  |
| 07 |  |  |  |  |

Copies of Contract awarded / Purchase Order must be attached otherwise no marks would be awarded.

Form B1

List of Technical Staff

| Sr. No. | Name of Employee | Certificate/ Diploma/ Higher Technical Qualification | Experience | Name, Address & Contact No. of the Employee |
| --- | --- | --- | --- | --- |
| 01 |  |  |  |  |
| 02 |  |  |  |  |
| 03 |  |  |  |  |
| 04 |  |  |  |  |
| 05 |  |  |  |  |
| 06 |  |  |  |  |
| 07 |  |  |  |  |
| 08 |  |  |  |  |
| 09 |  |  |  |  |
| 10 |  |  |  |  |

Name and Signature of Bidder

With official Stamp

Special Note:

The proof of required Bid Security must be attached with Technical Bid, otherwise, bid shall be rejected.

Only the manufacturers or the concerned authorized distributors / whole sellers / dealers / partners / firms of the concerned manufacturers are eligible to participate in the bid. (Documentary Support must be attached with the bid).

Only one brand / model is allowed to quote against each option. In case, more than one options with different brands / models have been quoted with different prices against one option, the bid will be rejected as a whole.

Vendors must quote latest model available. Change of model at any stage will not be allowed in any case.

Dated:

Special Note:

In case, the firm wants to quote the price on C&F basis, the firm will ensure that Principal is agreed to open LC with the quoted price in black & white. Subsequently, if, it is communicated by the vendor that the quoted amount / ordered quantity is lesser and LC cannot be opened with the said amount or ordered quantity (quantity of the items mentioned in the purchase order as per actual requirement), then, the excuse will not be acceptable and action will be taken according to the rules which can include forfeiture of bid security or blacklisting or both of them.

Complete supporting documents must be attached with the technical bid according to the requirements mentioned in the evaluation criteria.

The financial bids of technically accepted bidders (whose quoted item / model / brand will be according to the minimum required specifications and who will comply with the terms & conditions, instructions and evaluation criteria etc. of the bid documents) will be opened publicly at a time to be announced by the Procuring Agency. The financial bids of the bidders found technically non-responsive shall be returned un-opened to the respective Bidders.

Note:

- An Affidavit / Undertaking on Stamp Paper of Rs.20/- (minimum) must be submitted by the bidder undertaking that:

- The firm has not been blacklisted in the past on any ground by any Government (Federal, Provincial), a local body or a public sector organization and no litigation is underway on account of blacklistment process. In case the bidder has been disqualified or blacklisted earlier in the past by any public sector organization, detail concerning the period of such disqualification/ blacklistment, cause of such embargo and eventual result/ latest status shall be mentioned by the bidder. On account of submission of false statement or concealment of fact, the Bidder shall be disqualified forthwith, if contract has not been executed and blacklisted, if the contract has been executed.

2.	Stamp duty would be furnished by the successful bidder as levied by the Government after the issuance of purchase order for entering into agreement.

3.	Financial / Bank Statement for minimum period of 01 year is enclosed.

4.	The University shall initially open only the envelopes marked as “TECHNICAL PROPOSAL” in the presence of Bidders’ representatives who choose to be present, at the time of bid opening. However, the envelope marked as “FINANCIAL PROPOSAL” shall remain unopened and shall be retained in safe custody of the University till completion of the technical evaluation process. Financial Details (Rates of Quoted Items) must not be mentioned in the technical bid anywhere otherwise the tender submitted by the concerned vendor will be rejected as a whole.

5.	The over writing / cutting in the rates / specifications etc. is not allowed. In case of over writing / cutting, the bid for the said item will be rejected or the decision of University will be final & applicable which will not be challengeable anywhere.

6.	Complete brochures / supporting documents of the quoted brands / items must be enclosed along with the bid document, where applicable.

7.	Brand details, Country of Origin and port of shipment must be mentioned in the bidding documents, if applicable.

8.	Technical Specifications must be Equivalent or Higher. Soft copy must be provided in form of (MS-Word) CD along with bid.

9.	Signature & stamp of the bidder is essential at the proper place given at the end of bid document.

10.	Sample of each quoted item must be provided by bidder, if Technical Committee will demand. In case non-compliance, the bid will be rejected.

11.	In case of FOR basis, Prices must be quoted clearly mentioning with all charges/inclusive of all applicable taxes.

TERMS & CONDITIONS:

- Bid should be addressed in the name of Treasurer, University of the Punjab and reach in this office (Procurement Wing) by 06-04-2021 at 09:45 (a.m.).

- The Tender Opening Committee will open the bids on same date at 10:15 (a.m.) in the presence of bidders, who wish to attend. In case of bid submission / opening date falls on the public holiday, the submission / opening date will be next working date.

- Bid received after due date/time will not be accepted under any circumstances.

- The bid should be submitted along with 2% Earnest Money Demanded (EMD) of the estimated price in the form of Demand Draft, Bankers Cheque, or CDR in favor of the Treasurer, University of the Punjab payable at Lahore to be issued from any enlisted bank with State Bank of Pakistan. No bid shall be acceptable without EMD. The said EMD of rejected bidder / bidders will be released after final decision. However, the EMD of successful bidder / bidders will be retained until the completion of job successfully as per work order. In case of LC, the 2% EMD can be get released after submission of 10% performance security. In case of Rate Contract, the 2% bid security will be retained until the expiry of contract period.

- Bid shall remain valid for 120 days from the date of opening the bid.

- In case of Rate Contract, the Rate Contract shall be placed with only registered / reputed manufacturers / authorized distributors of foreign manufacturers who are authorized for supplying the stores, so fresh registration/authorization certificate is required along with bid subject to the reasonability of rates, company profile, past experience, professional skills, credibility of the firm etc. However, if some un-authorized firm bearing excellent goodwill, company profile, past experience, professional skills, credibility of the firm etc. with reasonable price that can be considered subject to the recommendations of concerned committee.

- The supply should be executed promptly within delivery period mentioned in Purchase Order. In case, the firm fails to supply the stores within stipulated period, University of the Punjab reserves the right not to accept the supply, in part or in full and to claim liquidated damages @ 2% per Month (0.06% per day) subject to a maximum of 10% of the total value of stores ordered.

- The vendor should ensure that no other Govt. organization is being offered / benefited more than this discount. If the same is found at any stage recovery will be made accordingly.

- For any Damages/Shortage during transit, bidder will be responsible & the same must be replaced within maximum 7 working days.

- In case the supplies are warranty items, 10% Security of the ordered value will be deducted at the time of payment or the vendor can himself submit 10% performance security in the form of CDR / banker’s cheque / bank guarantee having minimum expiry date in accordance with the warranty period of the items etc. In case of warranty, the amount of Security will be held by the University till warranty period and the said amount will be released upon the satisfactory report of end user.

- The supply will be checked by the Technical Committee / representative of the department, if so desired.

- The technical committee shall determine to its satisfaction whether the bidder that is selected as having submitted the lowest evaluated responsive bid is qualified to perform the Contract satisfactorily.

- The determination shall take into account the Bidder’s financial, technical, and production capabilities. It shall be based upon an examination of the documentary evidence of the Bidder’s qualifications submitted by the Bidder, as well as such other information as the Technical Committee / University deems necessary and appropriate.

- The Technical Committee / University, at any stage of the procurement proceedings, having credible reasons for or prima facie evidence of any defect in Supplier’s capacities may require the Suppliers to provide information concerning their professional, technical, financial, legal or managerial competence.

- The Technical Committee / University shall disqualify or blacklist a Bidder if it finds, at any time, that the information submitted by him concerning his qualification as Supplier was false inaccurate or incomplete, or otherwise to be indulging in corrupt and Fraudulent practices.

- The Bidder should quote the prices of goods according to the technical specifications. The specifications of goods, different from the demand of enquiry, shall straightway be rejected.

- The Bidder is required to offer competitive price. All prices must include relevant taxes and duties, where applicable. If there is no mention of taxes, the offered / quoted price shall be considered as inclusive of all prevailing taxes/duties. The benefit of exemption from or reduction in the GST or other taxes, if granted at any stage of procurement, shall be passed on to the University.

- Conditional offer shall also be considered as non-responsive Bidder.

- The Supplier/ agent shall have to produce letter of authorization from Manufacturer and in case of Manufacturer, documentary proof to the effect that they are the original Manufacturer of the required goods shall be provided.

- National Tax Number (NTN), General Sales Tax Number, Professional Tax (if applicable) and registration certificate with PRA (if applicable) with documentary proof shall have to be provided by each Bidder in the tender.

- During evaluation of the bids, the University may, at its discretion, ask the Bidder for a clarification of its bid. The request for clarification and the response shall be in writing, and no change in the prices or substance of the bid shall be sought, offered, or permitted.

- In the financial bids (at the time of opening the financial proposal) the arithmetical errors shall be rectified on the following basis. If there is a discrepancy between the unit price and the total price that is obtained by multiplying the unit price and quantity, the unit price shall prevail, and the total price shall be corrected. If the Bidders/Suppliers do not accept the correction of the errors, its bid shall be rejected. If there is a discrepancy between words and figures, the amount in words shall prevail.

- In case, the blacklistment of the firm is to be pursued, the blacklisting procedure will be adopted as per PPRA rules.

- In case the vendor fails to complete the job or provide substandard articles, or withdraw his offer for any reason, the EMD will be forfeited.

- The material must be supplied in one lot. Part supplies generally will not be acceptable. Moreover, the payment will be made after the job has been accomplished in all respects quite in accordance with the work order. However, in special cases, partial supply / partial payment is allowed subject to the approval of competent authority.

- Force majeure clause is acceptable as defined under sales of goods & contract Act.

- No advance payment will be made in favor of tender awarded firm.

- The procurement process will be accomplished in accordance with the PPRA Rules. In case, any of the mentioned clause of the bid documents is in conflict with the PPRA rules, the PPRA rules will prevail upto the extent of that conflict.

- Normally the payment will be made within 14 days after receipt of supplies & found in order in quality and quantity and submission of claim / bill with complete supporting documents.

- The supplies must be confirmed to the specification of supply order and free of defects in all respects. If the same is found defective, the same must be replaced immediately free of charge at University of the Punjab, Lahore.

- All the disputes under the Rate Contract will be settled by the Main Purchase & Indent Committee, University of the Punjab and will be binding on vendor.

- The competent authority reserves the rights to increase or decrease the quantity as per actual requirement / availability of funds.

- It is the intention of the authority to make the selection of vendor(s) as fair, transparent objective and efficient as possible. The Technical Committee will adopt the approach outlined below to achieve this objective.

- Review all quotations to ensure that the minimum technical specifications are met. Any bid which fails to meet the defined minimum specifications will be disqualified.

- Evaluate the proposed products that are above the minimum requirements. The evaluation procedure adopted is based on the weighting of all requirements and scoring the vendor’s responses appropriately.

- Good will / past experience/ history of the firm will be considered while evaluating the bids.

- Compliance to the instructions terms and conditions etc., given in bidding documents.

- The firm will be bound to provide / ensure quality after sales services during the warranty period. Otherwise, disciplinary action will be taken under the rules which can include forfeiture of bid security/ black listing/ disqualification for the participation in any bidding process in future or both of them.

- The end user on behalf of the University shall notify the supplier in writing / through telephone immediately of any defect that occurs during the warranty period. On receipt of such intimation/notification within the warranty period, the supplier shall attend the emergency / breakdown call within a maximum of 06 working hours.

- All the expenses for the above remedial measures including the repair / replacement if so required shall be born by the supplier. In case the fault has occurred as direct consequence of undesirable condition i.e. electricity or temperature, the supplier shall inform the buyer for taking corrective measures prior to the commencement of the remedial activity.

- Wherever a brand has been specified, equivalent will be entertained subject to technical evaluation according to PPRA Rules.

- The rates should be quoted after allowing rebates / discounts, if any but including transportation, delivery at site, commissioning, packing charges, forwarding and all taxes.

- If the supply is taxable, the rate must be quoted Inclusive of all Taxes.

- If the supplies are exempted of taxes, the exemption certificate/ comprehensive supporting documents must be provided along with the bid.

- If the PST duly imposed by the Govt. of the Punjab is applicable on the quoted job, then the rate must be quoted after including PST.

- While quoting the rates of required/specified supplies, its make & made/brand should be written against each. The rates should be quoted only in Unit / Per Kg. / Per Litter / Pack Each according to the nature of the quotations / bids.

- Competent authority / University of the Punjab, has full unchallengeable rights for formal approval / rejection of bids or overall the purchase case.

- In case of supply on FOR basis, the supply shall be accepted subject to the condition of final and unchallengeable approval of the Purchase / Inspection Committee of the University, at the destination.

- Prior to the detailed evaluation, the University shall determine the substantial responsiveness of each bid to the bidding documents. A substantially responsive bid is one, which conforms to all the terms and conditions & specifications of the bidding documents without material deviations. Deviations from, or objections or reservations to critical provisions shall be deemed to be a material deviation for technical proposals. The University’s determination of a bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidence.

- If a bid is not substantially responsive, it shall be rejected and will not be accepted/ entertained for detail evaluation.

- In case of bid on C&F basis, the University will provide a request letter to concerned tax authorities for exemption of taxes at the import stage.

- In case of bid on C&F basis, all bids shall be valid subject to the Performa Invoice from the Principal duly signed, clearly indicating the name of manufacturer & country of origin / port of shipment, along with a certificate from the Principal authorizing the Supplier to bid on his behalf in case of manufactured goods. The Supplier should enclose the Principal catalogue/leaflet/literature and other technical data, if any, along with his bid. The LC shall not be opened until and unless Performa Invoice issued by the concerned principal is submitted by the vendor.

- The bid amount will be quoted by the vendor along with this certificate:

Assistant Treasurer (Procurement)

I / We have read all the above Bid Document’s instructions and submit bids/rates in conformity / compliance with the above given terms and conditions.

_______________________________________

Signature & Stamp of Supplier/Bidder/Vendor

________

Dealing PersonAsstt./Deputy Treasurer