Maintenance & Repair of Air Conditioners and Electric Water Coolers,

Institute of Education and Research

University of the Punjab, Lahore

BIDDING DOCUMENT

(Single Stage – Single Envelope Procedure)

Under PPRA Rules, 2014

SECTION – I

1. INVITATION FOR BIDS (IFB)

The Institute of Education and Research, University of the Punjab, Lahore invites sealed bids from eligible firms/contractors for Maintenance & Repair of Air Conditioners and Electric Water Coolers installed at IER.

Bidding shall be conducted under Single Stage – Single Envelope Procedure in accordance with PPRA Rules, 2014.

SECTION – II

2. INSTRUCTIONS TO BIDDERS (ITB)

2.1 Eligible Bidders

The bidder must:

- Be registered with FBR (NTN & GST).

- Provide copy of CNIC (in case of proprietor).

- Not be blacklisted by any Government/Semi-Government organization.

- Have minimum 03 years relevant experience.

- Provide proof of similar work orders.

2.2 Cost of Bidding

All costs related to preparation and submission of bids shall be borne by the bidder.

2.3 Earnest Money (Bid Security)

- 2% of the estimated value

- Security in shape of CDR/Bank Draft, in  favor of  the Director, Institute of Education and Research, University of the Punjab, Lahore

- Without bid security, bid shall be rejected.

2.4 Submission of Bids

Bids must be submitted in sealed envelope clearly marked:

“Tender for Maintenance & Repair of ACs and Water Coolers”

Submit to:

In charge (Purchase & Store), Institute of Education and Research, University of the Punjab

Quaid-e-Azam Campus, Lahore. Last Date: 05 May 2026 Time: 11:00 AM

2.5 Opening of Bids

Bids will be opened on 11 May  2026 at 11:30 AM in the Committee Room,IER.

2.6 Evaluation Criteria

- Complete documentation

- Valid registration certificates

- Relevant experience

- Lowest evaluated responsive bid

2.7 Award of Contract

Contract shall be awarded to the lowest evaluated responsive bidder.

SECTION – III

3. GENERAL CONDITIONS OF CONTRACT (GCC)

1. Work shall be carried out during office hours unless otherwise approved.

2. Contractor shall use genuine spare parts.

3. Any damaged equipment during work shall be responsibility of contractor.

4. Completion period: 12 months (annual maintenance basis).

5. Payment shall be made after verification by inspection committee, or relevant Teacher/Officer/Official.

6. Income tax and other government taxes shall be deducted as per rules.

7. Performance Security: 5% of contract value (if required by competent authority).

SECTION – IV

4. SPECIAL CONDITIONS OF CONTRACT (SCC)

- Preventive maintenance to be carried out quarterly.

- Emergency complaints must be attended within 24 hours.

- Gas charging warranty minimum 03 months.

- Compressor replacement warranty minimum 06 months.

- Record of maintenance visits must be maintained.

SECTION – V

TECHNICAL SPECIFICATIONS

Air Conditioners (Split/Window/Cabinet)

- General servicing (cleaning indoor/outdoor unit)

- Gas charging (R-22/R-410 as applicable)

- Electrical repair (wiring, capacitor, contactor)

- Thermostat repair/replacement

- Compressor repair/replacement

- Fan motor repair/replacement

Electric Water Coolers

- Cooling unit repair

- Motor/pump replacement

- Thermostat replacement

- Gas charging

- Water leakage repair

- Welding where needed and repair of Tab or replacement of Tab where needed of the Water Coolers must be done with the approval of the Competent Authority.

SECTION – VI

BILL OF QUANTITIES (BOQ)

(Rates must be quoted inclusive of all taxes)

| Sr. No. | Description of Work | Estimate Quantity | Unit | Rate (Rs.) | Amount Rs. |
| --- | --- | --- | --- | --- | --- |
|  | General Servicing of Split AC (1, 1.5, 2, 2.5, 4 Ton cabinets) | 160 | Each |  |  |
|  | Gas Charging (Split AC) USA | 30 | Each |  |  |
|  | Compressor Replacement (Split AC) | 05 | Each |  |  |
|  | Capacitor Replacement | 40 | Each |  |  |
|  | Thermostat Replacement | 05 | Each |  |  |
|  | ¦ Fan Motor Replacement | 10 | Each |  |  |
|  | ¦ General Servicing of Electric Water Cooler | 12 | Each |  |  |
|  | ¦ Motor/Pump Replacement (Water Cooler) | 05 | Each |  |  |
|  | Gas Charging (Water Cooler) | 10 | Each |  |  |
|  | Electrical Fault Repair, Leakage Repair (Lump Sum) | 06 | Each |  |  |

Grand Total (Rs.): _______________________

SECTION – VII

BID FORM

I/We hereby submit our bid for Maintenance & Repair of ACs and Water Coolers at Institute of Education & Research, University of the Punjab, Lahore in accordance with PPRA Rules, 2014.

Firm Name: _______________________

Authorized Representative: _______________________

Signature: _______________________

Stamp: _______________________

Date: _______________________

NTN # _________________________

CNIC # __________________________

Current Address #______________________

Permanent Address# __________________________

SECTION – VIII

AFFIDAVIT

I/We solemnly declare that:

  - Our firm is not blacklisted.

  - All information provided is true and correct.

  - We agree to abide by PPRA Rules, 2014.

  - At any stage in case of misinformation the contract would be cancelled & no payment will be delivered.

Signature & Stamp